## Belimo - Air
Actuator | Description | GBP | AA Purchase | AA Sell
CM24-L | Damper act. 2Nm O/C 3-P ccw IP54 | 76 | 26.6 | 45.6
CM24-R | Damper act. 2Nm O/C 3-P cw IP54 | 76 | 26.6 | 45.6
CM230-L | Damper act. 2Nm O/C 3-P ccw IP54 | 79 | 27.65 | 47.4
CM230-R | Damper act. 2Nm O/C 3-P cw IP54 | 79 | 27.65 | 47.4
CM24-SR-L | Damper act. 2 Nm CM24-SR-L ccw IP54 | 111 | 38.85 | 66.6
CM24-SR-R | Damper act. 2 Nm CM24-SR-R cw IP54 | 111 | 38.85 | 66.6
EF230A | Damper act. 30 Nm IP54 | 514 | 179.9 | 308.4
EF230A-S2 | Damper act. 30 Nm with Aux switch IP54 | 546 | 191.1 | 327.6
EF24A | Damper act. 30 Nm IP54 | 447 | 156.45 | 268.2
EF24A-S2 | Damper act. 30 Nm with Aux switch IP54 | 479 | 167.65 | 287.4
EF24A-SR | Damper act. 30 Nm Modulating (0-10V) IP54 | 505 | 176.75 | 303
EF24-SR-S2 | Damper act. 30 Nm Modulating (0-10V) IP54 | 536 | 187.6 | 321.6
GM24A | Damper act. 40 Nm O/C IP54 | 225 | 78.75 | 135
GM24A-S | Damper act. 40 Nm with Aux switch IP54 |  | 0 | 0
GM24A-SR | Damper act. 40 Nm Modulating (0-10V) IP54 | 271 | 94.85 | 162.6
GM24A-MP | Damper act. 40 Nm Modbus IP54 | 289 | 101.15 | 173.4
GM230A | Damper act. 40 Nm O/C IP54 | 229 | 80.15 | 137.4
LF24 | Damper act. 4 Nm IP54 | 144 | 50.4 | 86.4
LF24-S | Damper act. 4 Nm with Aux switch IP54 | 166 | 58.1 | 99.6
LF24-SR | Damper act. 4 Nm Modulating (0-10V) IP54 | 195 | 68.25 | 117
LTF230-S | Damper act. 4 Nm with Aux switch IP54 | 178 | 62.3 | 106.8
LF230 | Damper act. 4 Nm IP54 | 156 | 54.6 | 93.6
LF230-S | Damper act. 4 Nm with Aux switch IP54 | 178 | 62.3 | 106.8
LM24A | Damper act. 5 Nm IP54 | 90 | 31.5 | 54
LM24A-S | Damper act. 5 Nm with Aux switch IP54 | 102 | 35.7 | 61.2
LM230A | Damper act. 5 Nm IP54 | 90 | 31.5 | 54
LM230A-S | Damper act. 5 Nm with Aux switch IP54 | 102 | 35.7 | 61.2
LM24A-SR | Damper act. 5 Nm Modulating (0-10V) IP54 | 123 | 43.05 | 73.8
LM230A-SR | Damper act. 5 Nm Modulating (0-10V) IP54 | 146 | 51.1 | 87.6
LMC230A | Damper act. 5 Nm Fast Running IP54 | 93 | 32.55 | 55.8
LMC24A | Damper act. 5 Nm Fast Running IP54 | 93 | 32.55 | 55.8
LMC24A-SR | Damper act. 5 Nm Fast Running Modulating IP54 | 126 | 44.1 | 75.6
LMQ24A | Damper act. 5 Nm Very Fast Running IP54 | 183 | 64.05 | 109.8
LMQ24A-SR | Damper act. 5 Nm Very Fast Running Modulating IP54 | 189 | 66.15 | 113.4
LMQ24A-SRV-ST | Damper act. (for VPM-M) 4 Nm Fast Running Modulating IP54
NFA | Damper act. 10 Nm IP54 |  | 0 | 0
NFG-L | Damper act. 10 Nm IP66 | 447 | 156.45 | 268.2
NFA-S2 | Damper act. 10 Nm with Aux switch IP54 |  | 0 | 0
NFG-S2-L | Damper act. 10 Nm with Aux switch IP66 | 479 | 167.65 | 287.4
NF24A | Damper act. 10 Nm IP54 | 179 | 62.65 | 107.4
NF24A-S2 | Damper act. 10 Nm with Aux switch IP54 | 204 | 71.4 | 122.4
NF24A-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 215 | 75.25 | 129
NF24-SR-S2 | Damper act. 10 Nm Modulating (0-10V) IP54 | 240 | 84 | 144
NF24G-SR-L |  | 439 | 153.65 | 263.4
NF24G-SR-S2-L |  | 471 | 164.85 | 282.6
NM24P | Damper act. 10 Nm O/C IP54 | 251 | 87.85 | 150.6
NM24P-S | Damper act. 10 Nm with Aux switch IP54 | 274 | 95.9 | 164.4
NM230P | Damper act. 10 Nm O/C IP54 | 254 | 88.9 | 152.4
NM230P-S | Damper act. 10 Nm with Aux switch IP54 | 278 | 97.3 | 166.8
NM24P-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 160 | 56 | 96
NM230P-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 324 | 113.4 | 194.4
NR24A-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 181 | 63.35 | 108.6
NM24A | Damper act. 10 Nm O/C IP54 | 110 | 38.5 | 66
NM24A-S | Damper act. 10 Nm with Aux switch IP54 | 133 | 46.55 | 79.8
NM230A | Damper act. 10 Nm O/C IP54 | 114 | 39.9 | 68.4
NM230A-S | Damper act. 10 Nm with Aux switch IP54 | 137 | 47.95 | 82.2
NM24A-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 160 | 56 | 96
NM24A-SR-F | Damper act. 10 Nm Modulating (0-10V) IP54 - 8mm SHAFT |  | 0 | 0
NM230A-SR | Damper act. 10 Nm Modulating (0-10V) IP54 | 184 | 64.4 | 110.4
NM230-PSR | Damper act. 10 Nm Modulating (0-10V) IP66 | 324 | 113.4 | 194.4
NMQ24A | Damper act. 8 Nm O/C IP54 | 201 | 70.35 | 120.6
MNQ24A-SR | Damper act. 8 Nm Modulating (0-10V) IP54 | 226 | 79.1 | 135.6
SFA | Damper act. 20 Nm IP54 |  | 0 | 0
SFG-L | Damper act. 20 Nm IP66 | 460 | 161 | 276
SFA-S2 | Damper act. 20 Nm with Aux switch IP54 |  | 0 | 0
SFG-S2-L | Damper act. 20 Nm with Aux switch IP66 | 490 | 171.5 | 294
SF24A | Damper act. 20 Nm IP54 | 221 | 77.35 | 132.6
SF24A-S2 | Damper act. 20 Nm with Aux switch IP54 | 245 | 85.75 | 147
SF24A-SR | Damper act. 20 Nm Modulating (0-10V) IP54 | 256 | 89.6 | 153.6
SF24-SR-S2 | Damper act. 20 Nm Modulating (0-10V) IP54 | 274 | 95.9 | 164.4
SF24A-MOD | Damper act. 20 Nm Modbus IP54 | 325 | 113.75 | 195
SFG-SR-L | Damper act. 20 Nm Modulating (0-10V) IP66 |  | 0 | 0
SFG-SR-S2-L | Damper act. 20 Nm Modulating (0-10V) IP66 |  | 0 | 0
SF24G-SR-L | Damper act. 20 Nm Modulating (0-10V) IP66 | 456 | 159.6 | 273.6
SF24G-SR-S2-L | Damper act. 20 Nm Modulating (0-10V) IP66 | 485 | 169.75 | 291
SGA24 |  | 80 | 28 | 48
SGE24 |  | 80 | 28 | 48
SGF24 |  | 57 | 19.95 | 34.2
SM24A | Damper act. 20 Nm O/C IP54 | 127 | 44.45 | 76.2
SM24A-S | Damper act. 20 Nm with Aux switch IP54 | 158 | 55.3 | 94.8
SM24A-SR | Damper act. 20 Nm Modulating (0-10V) IP54 | 169 | 59.15 | 101.4
SM24P | Damper act. 20 Nm O/C IP54 | 271 | 94.85 | 162.6
SM24P-S | Damper act. 20 Nm with Aux switch IP54 | 304 | 106.4 | 182.4
SM24A-MA |  | 223 | 78.05 | 133.8
SM230A | Damper act. 20 Nm O/C IP54 | 130 | 45.5 | 78
SM230A-S | Damper act. 20 Nm with Aux switch IP54 | 163 | 57.05 | 97.8
SM230A-SR | Damper act. 20 Nm Modulating (0-10V) IP54 | 205 | 71.75 | 123
SM230P | Damper act. 20 Nm O/C IP54 | 274 | 95.9 | 164.4
SM230P-S | Damper act. 20 Nm with Aux switch IP54 | 307 | 107.45 | 184.2
SM24P-SR | Damper act. 20 Nm Modulating (0-10V) IP54 | 325 | 113.75 | 195
SM230P-SR | Damper act. 20 Nm Modulating (0-10V) IP54 | 350 | 122.5 | 210
SMC24A-MF |  |  | 0 | 0
SMQ24A | Damper act. 16 Nm O/C IP54 | 219 | 76.65 | 131.4
SMQ24A-SR | Damper act. 16 Nm Modulating (0-10V) IP54 | 251 | 87.85 | 150.6
TF24 | Damper act. 2.5 Nm IP54 | 118 | 41.3 | 70.8
TF24-S | Damper act. 2.5 Nm with Aux switch IP54 | 139 | 48.65 | 83.4
TF230 | Damper act. 2.5 Nm IP54 | 127 | 44.45 | 76.2
TF230-S | Damper act. 2.5 Nm with Aux switch IP54 | 149 | 52.15 | 89.4
TF24-SR | Damper act. 2.5 Nm Modulating (0-10V) IP54 | 159 | 55.65 | 95.4
TF230-SR | Damper act. 2.5 Nm Modulating (0-10V) IP54 | 176 | 61.6 | 105.6
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
BF24 | Fire & Smoke act. Spring Return 18Nm | 216 | 75.6 | 129.6
BF24-SR | Fire Damper Actuator - Spring Return 18Nm Modulating |  | 0 | 0
BF-230 | Fire Damper Actuator - Spring Return 18Nm |  | 0 | 0
BF230-T | Fire Damper Actuator - Spring Return 18Nm | 282 | 98.7 | 169.2
BF24-T | Fire Damper Actuator - Spring Return 18Nm | 250 | 87.5 | 150
BF24-T-ST | Fire Damper Actuator - SR 18Nm - BAE-72 with LED | 273 | 95.55 | 163.8
BFN24-T | Fire Damper Actuator - Spring Return 9Nm |  | 0 | 0
BFN230-T | Fire Damper Actuator - Spring Return 9Nm |  | 0 | 0
BKN230-MOD | Communication & power supply unit | 199 | 69.65 | 119.4
BLF24-T | Now BFN24-T |  | 0 | 0
BLF230-T | Now BFN230-T |  | 0 | 0
|  |  | 0 | 0
KH8 | Damper crank arm | 9.3 | 3.255 | 5.58
KH10 | Damper crank arm | 16.7 | 5.845 | 10.02
|  |  | 0 | 0
Z-UIC | Signal converter voltage/current | 154 | 53.9 | 92.4
Z-MKESA |  |  | 0 | 0
Z-MBFA |  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0
|  |  | 0 | 0